## SUMMARY
Sample Child Care Expansion Bid
KEN GROUP General Contractor, Rammy Dongel - Owner
(856) 359-0762 rammy@kengroupus.com
Building GSF
First Floor (SF)
Division No. | DESCRIPTION | LABOR Cost | MATERIAL Cost | SUBTOTAL
Division No. 1 | General Requirments | 0 | 0 | 0
Division No. 2 | EXISTING CONDITIONS | 105022.1317 | 17233.8288 | 122255.9606
Division No. 3 | CONCRETE | 46227.4812 | 95752.19 | 141979.6711
Division No. 5 | METAL | 2674.551 | 8036.6192 | 10711.1702
Division No. 6 | WOOD AND PLASTICS | 82266.8953 | 262492.7789 | 344759.6742
Division No. 7 | THERMAL AND MOISTURE PROTECTION | 25737.1809 | 37050.7597 | 62787.9406
Division No. 8 | OPENINGS | 46496.84 | 330088.04 | 376584.88
Division No. 9 | FINISHES | 198590.18 | 357331.284 | 555921.464
Division No. 10 | SPECIALITIES | 53134.1261 | 282520.5286 | 335654.6547
Division No. 11 | EQUIPMENTS |  | 0 | 30867.21
Division No. 12 | FURNISHINGS | 2634.0808 | 10714.1149 | 13348.1957
Division No. 22 | PLUMBING | 13774.7977 | 55759.5823 | 69534.38
Division No. 23 | MECHANICAL | 11116.64 | 33421.2 | 44537.84
Division No. 26 | ELECTRICAL | 14000 | 32200 | 46200
Division No. 31 | EARTHWORK | 2391.7616 | 0 | 2391.7616
Division No. 32 | EXTERIOR IMPROVEMENTS | 4317.7979 | 12932.176 | 17249.9738
| Total Trade Cost | 608384.4642 | 1535533.1024 | 2174784.7766
| Overhead and profit |  | 25% | 543696.1942
| INSURANCE |  |  | 0
| CONTINGENCY |  | 10% | 217478.4777
| TOTAL BASE BID (INCL. OVERHEAD AND PROFIT) |  |  | 2935959.4485
See next tab for detailed estimate.

## DETAILED ESTIMATE
Sample Child Care Expansion Bid |  | KEN GROUP General Contractor
Rammy Dongel - Owner
(856) 359-0762
rammy@kengroupus.com
BASE BID |  | 2935959.4485
SR # | DWG. NO. | CSI NO. | DESCRIPTION | QTY. | WASTE | QTY. W/ WASTE | UNIT | LABOR/EQUIP. COST | MATERIAL COST | TOTAL LABOR | TOTAL MATERIAL | TOTAL UNIT COST | TOTAL COST | SUBTOTALS | Code | Alteration | New Construction
|  | DIVISION 01- | GENERAL REQUIRMENTS
1 |  |  | Permits | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0
2 |  |  | Drawing Submission | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0
3 |  |  | Supervision And Coordination | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0
4 |  |  | Final Cleanup | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0
5 |  |  | Mobilzation Cost | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0
6 |  |  | Temporary Control And Facilities | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0
|  |  | General Requirments Sub Total | [6 empty] | 0 | 0 |  |  | 0
|  | DIVISION 02- | EXISTING CONDITIONS
ALTERATION
RENOVATED
7 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Existing Sewer Lines To Be Protected And Repaired | 8 | 0% | 8 | EA | 230 | 148.56 | 1840 | 1188.48 | 378.56 | 3028.48 |  | A | 3028.48 | 0
8 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Cap Pipe | 2 | 0% | 2 | EA | 7.4 | 17.35 | 14.8 | 34.7 | 24.75 | 49.5 |  | A | 49.5 | 0
9 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Replace/Repair Existing Concrete Staircase | 41 | 0% | 41 | EA | 63.98 | 156.72 | 2623.18 | 6425.52 | 220.7 | 9048.7 |  | A | 9048.7 | 0
10 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Remove Handrails | 13.03 | 10% | 14.333 | FT | 8.43 | 0 | 120.8272 | 0 | 8.43 | 120.8272 |  | A | 120.8272 | 0
11 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Roof Repairs And Replacement As Needed | 2801.85 | 10% | 3082.035 | SF | 1.76 | 3.11 | 5424.3816 | 9585.1288 | 4.87 | 15009.5104 |  | A | 15009.5104 | 0
|  |  | DEMOLITION | [11 empty] | A | 0 | 0
12 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Existing Plumbing Fixtures And Drains To Be Removed In Their Entirety | 12 | 0% | 12 | EA | 134.29 | 0 | 1611.48 | 0 | 134.29 | 1611.48 |  | A | 1611.48 | 0
13 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Existing Concrete Slab And Dirt To Be Removed Down | 918.12 | 10% | 1009.932 | SF | 3.57 | 0 | 3605.4572 | 0 | 3.57 | 3605.4572 |  | A | 3605.4572 | 0
14 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Remove Walls | 2558.88 | 10% | 2814.768 | SF | 3.24 | 0 | 9119.8483 | 0 | 3.24 | 9119.8483 |  | A | 9119.8483 | 0
15 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Removed Doors | 21 | 0% | 21 | EA | 286.91 | 0 | 6025.11 | 0 | 286.91 | 6025.11 |  | A | 6025.11 | 0
16 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Remove Existing Ceiling In Its Entirety | 2292.04 | 10% | 2521.244 | SF | 1.88 | 0 | 4739.9387 | 0 | 1.88 | 4739.9387 |  | A | 4739.9387 | 0
17 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Removal Af All Furniture And Equipment Being Used By The Facility | 2 | 0% | 2 | EA | 167.29 | 0 | 334.58 | 0 | 167.29 | 334.58 |  | A | 334.58 | 0
18 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Remove Existing Mechanical Equipment | 1 | 0% | 1 | EA | 420 | 0 | 420 | 0 | 420 | 420 |  | A | 420 | 0
19 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Remove Existing Kitchen Equipment | 1 | 0% | 1 | EA | 158.72 | 0 | 158.72 | 0 | 158.72 | 158.72 |  | A | 158.72 | 0
20 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Concrete Stairs To Be Removed | 34 | 0% | 34 | EA | 73.51 | 0 | 2499.34 | 0 | 73.51 | 2499.34 |  | A | 2499.34 | 0
21 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Remove Existing Windows | 3 | 0% | 3 | EA | 324.65 | 0 | 973.95 | 0 | 324.65 | 973.95 |  | A | 973.95 | 0
22 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Remove Guard Rail | 6.45 | 10% | 7.095 | FT | 62.93 | 0 | 446.4884 | 0 | 62.93 | 446.4884 |  | A | 446.4884 | 0
23 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Remove Exterior Wall With Assembly | 9.52 | 10% | 10.472 | FT | 43.57 | 0 | 456.265 | 0 | 43.57 | 456.265 |  | A | 456.265 | 0
24 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Remove Cabients | 4.02 | 10% | 4.422 | FT | 117.68 | 0 | 520.381 | 0 | 117.68 | 520.381 |  | A | 520.381 | 0
25 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Remove Countertop | 7.02 | 10% | 7.722 | SF | 16.49 | 0 | 127.3358 | 0 | 16.49 | 127.3358 |  | A | 127.3358 | 0
26 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Remove Existing Fence In Its Entirety | 245.98 | 10% | 270.578 | FT | 14.92 | 0 | 4037.0238 | 0 | 14.92 | 4037.0238 |  | A | 4037.0238 | 0
27 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Removal Of Existing Roofing Back To exposed Sheathing/Structure | 126.48 | 10% | 139.128 | SF | 4.23 | 0 | 588.5114 | 0 | 4.23 | 588.5114 |  | A | 588.5114 | 0
28 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Removal Of Roof Framing | 229.21 | 10% | 252.131 | SF | 6.48 | 0 | 1633.8089 | 0 | 6.48 | 1633.8089 |  | A | 1633.8089 | 0
29 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Remove Existing Concrete At Grade | 720.51 | 10% | 792.561 | SF | 5.32 | 0 | 4216.4245 | 0 | 5.32 | 4216.4245 |  | A | 4216.4245 | 0
|  |  | RELOCATE | [11 empty] | A | 0 | 0
30 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Relocate Sprinkler Main Line | 1 | 0% | 1 | EA | 550 | 0 | 550 | 0 | 550 | 550 |  | A | 550 | 0
|  |  | NEW CONSTRUCTION | [12 empty] | 0 | 0
|  |  | DEMOLITION | [12 empty] | 0 | 0
31 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | All Existing Site Mechanical Units And Remove In Preparation To Be Replaced Units | 1 | 0% | 1 | EA | 1250 | 0 | 1250 | 0 | 1250 | 1250 |  | N | 0 | 1250
32 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Provide Price And Remove Entire Existing Church Building | 1926.95 | 10% | 2119.645 | SF |  | 0 | 50400 | 0 | 0 | 50400 |  | N | 0 | 50400
33 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Remove Existing Concrete | 219.46 | 10% | 241.406 | SF | 5.32 | 0 | 1284.2799 | 0 | 5.32 | 1284.2799 |  | N | 0 | 1284.2799
[16 empty] | 0 | 0
|  |  | Existing Conditions Sub Total | [6 empty] | 105022.1317 | 17233.8288 |  |  | 122255.9606 |  | 0 | 0
[16 empty] | 0 | 0
|  | DIVISION 03- | CONCRETE | [12 empty] | 0 | 0
|  |  | ALTERATION | [12 empty] | 0 | 0
|  |  | SLAB | [12 empty] | 0 | 0
34 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | 4" Infill And 4" Concrete Slab | 931.98 | 10% | 1025.178 | SF | 3.83 | 8.16 | 3926.4317 | 8365.4525 | 11.99 | 12291.8842 |  | A | 12291.8842 | 0
|  |  | STEPS | [11 empty] | A | 0 | 0
35 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | 4'-10" Concrete Steps | 2 | 0% | 2 | EA | 73.56 | 189.42 | 147.12 | 378.84 | 262.98 | 525.96 |  | A | 525.96 | 0
|  |  | NEW CONSTRUCTION | [12 empty] | 0 | 0
|  |  | FOOTER | [11 empty] | N | 0 | 0
36 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | 6'-0"x6'-0" x1'-4" Footer (EA=2) | 3.54 | 10% | 3.894 | CY | 178.45 | 483.61 | 694.8843 | 1883.1773 | 662.06 | 2578.0616 |  | N | 0 | 2578.0616
|  |  | Underpinning 54' Long | [6 empty] | 10800 | 10800 |  | 21600 |  | N | 0 | 21600
|  |  | CONTINUOUS FOOTING | [11 empty] | N | 0 | 0
37 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | 2'-0" Wide x 1'-0" Deep Continuous Footing (LF=302.87') With Reinforcement | 22.43 | 10% | 24.673 | CY | 170.23 | 471.64 | 4200.0848 | 11636.7737 | 641.87 | 15836.8585 |  | N | 0 | 15836.8585
|  |  | WALL | [11 empty] | N | 0 | 0
38 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | 8" Concrete Wall (LF=306.33') | 68.41 | 10% | 75.251 | CY | 184.01 | 492.08 | 13846.9365 | 37029.5121 | 676.09 | 50876.4486 |  | N | 0 | 50876.4486
39 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | 10 MIL I Vapor Barrer (Henry Moistop Ultra 10 Or Equal) | 2756.69 | 10% | 3032.359 | SF | 0.62 | 0.76 | 1880.0626 | 2304.5928 | 1.38 | 4184.6554 |  | N | 0 | 4184.6554
|  |  | SLAB | [11 empty] | N | 0 | 0
40 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | 4" Poured Concrete 10-MIL Vapor Barrier 4" Gravel Base | 1997.73 | 10% | 2197.503 | SF | 3.83 | 8.16 | 8416.4365 | 17931.6245 | 11.99 | 26348.061 |  | N | 0 | 26348.061
|  |  | STEP | [11 empty] | N | 0 | 0
41 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | 4'-3" Concrete Steps | 6 | 0% | 6 | EA | 68.42 | 189.334 | 410.52 | 1136.004 | 257.754 | 1546.524 |  | N | 0 | 1546.524
|  |  | RAMP | [11 empty] | N | 0 | 0
42 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Concrete Ramp | 333.1 | 10% | 366.41 | SF | 3.71 | 7.76 | 1359.3811 | 2843.3416 | 11.47 | 4202.7227 |  | N | 0 | 4202.7227
|  |  | DUMPSTER ENCLOSURE | [11 empty] | N | 0 | 0
43 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Dumpster Enclosure | 84.79 | 10% | 93.269 | SF | 5.85 | 15.47 | 545.6236 | 1442.8714 | 21.32 | 1988.4951 |  | N | 0 | 1988.4951
|  |  | Dumpster During the constuction | [11 empty] | N | 0 | 0
[16 empty] | 0 | 0
|  |  | Concrete Sub Total | [6 empty] | 46227.4812 | 95752.19 |  | 141979.6711 | 141979.6711 |  | 0 | 0
[16 empty] | 0 | 0
|  | DIVISION 05- | METAL | [12 empty] | 0 | 0
|  |  | NEW CONSTRUCTION | [12 empty] | 0 | 0
|  |  | HANDRAIL | [12 empty] | 0 | 0
44 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Handrail | 173.75 | 10% | 191.125 | FT | 9.72 | 34.57 | 1857.735 | 6607.1912 | 44.29 | 8464.9263 |  | N | 0 | 8464.9263
|  |  | COLUMN | [11 empty] | N | 0 | 0
45 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | 6x6 HSS Column (2 EA) | 442 | 10% | 486.2 | LBS | 1.68 | 2.94 | 816.816 | 1429.428 | 4.62 | 2246.244 |  | N | 0 | 2246.244
[16 empty] | 0 | 0
|  |  | Metal Sub Total | [6 empty] | 2674.551 | 8036.6192 |  |  | 10711.1702 |  | 0 | 0
[16 empty] | 0 | 0
|  | DIVISION 06- | WOOD AND PLASTICS | [12 empty] | 0 | 0
|  |  | ALTERATION | [12 empty] | 0 | 0
|  |  | LOWER CABINETS | [12 empty] | 0 | 0
46 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | 2'-0" Wide x3'-0" High Lower Cabinets | 15.93 | 10% | 17.523 | FT | 127.52 | 391.79 | 2234.533 | 6865.3362 | 519.31 | 9099.8691 |  | A | 9099.8691 | 0
|  |  | STAIRS | [11 empty] | A | 0 | 0
47 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | 4'-0" Wide Stairs 9" High Riser 10" Wide Tread | 40 | 0% | 40 | EA | 67.91 | 174.31 | 2716.4 | 6972.4 | 242.22 | 9688.8 |  | A | 9688.8 | 0
|  |  | HANDRAIL | [11 empty] | A | 0 | 0
48 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Handrail | 41.9 | 10% | 46.09 | FT | 9.48 | 37.56 | 436.9332 | 1731.1404 | 47.04 | 2168.0736 |  | A | 2168.0736 | 0
|  |  | GUARDRAIL | [11 empty] | A | 0 | 0
49 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Guardrail | 15.87 | 10% | 17.457 | FT | 43.95 | 145.37 | 767.2352 | 2537.7241 | 189.32 | 3304.9592 |  | A | 3304.9592 | 0
|  |  | CLOSET | [11 empty] | A | 0 | 0
50 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | 1'-0" Wide Closet (7'-0") | 7.71 | 10% | 8.481 | FT | 176.41 | 519.53 | 1496.1332 | 4406.1339 | 695.94 | 5902.2671 |  | A | 5902.2671 | 0
|  |  | NEW CONSTRUCTION | [12 empty] | 0 | 0
|  |  | LOWER CABINETS | [12 empty] | 0 | 0
51 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | 2'-0" Wide x3'-0" High Lower Cabinets | 39.87 | 10% | 43.857 | FT | 127.52 | 391.79 | 5592.6446 | 17182.734 | 519.31 | 22775.3787 |  | N | 0 | 22775.3787
|  |  | FLOOR JOIST | [11 empty] | N | 0 | 0
52 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | 16" TJI 560 Floor Joist | 4406 | 10% | 4846.6 | FT | 5.04 | 11.27 | 24426.864 | 54621.182 | 16.31 | 79048.046 |  | N | 0 | 79048.046
|  |  | STAIRS | [11 empty] | N | 0 | 0
53 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | 4'-0" Wide Stairs 7" High Eiser 10" Wide Tread | 81 | 0% | 81 | EA | 67.91 | 174.31 | 5500.71 | 14119.11 | 242.22 | 19619.82 |  | N | 0 | 19619.82
|  |  | HANDRAIL | [11 empty] | N | 0 | 0
54 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Handrail | 78.89 | 10% | 86.779 | FT | 9.48 | 37.56 | 822.6649 | 3259.4192 | 47.04 | 4082.0842 |  | N | 0 | 4082.0842
|  |  | GUARDRAIL | [11 empty] | N | 0 | 0
55 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Guardrail | 79.22 | 10% | 87.142 | FT | 43.95 | 145.37 | 3829.8909 | 12667.8325 | 189.32 | 16497.7234 |  | N | 0 | 16497.7234
|  |  | CABIENT | [11 empty] | N | 0 | 0
56 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Storage Cabine (H=7'-0") | 10.18 | 10% | 11.198 | FT | 170.36 | 494.25 | 1907.6913 | 5534.6115 | 664.61 | 7442.3028 |  | N | 0 | 7442.3028
|  |  | TRUSS | [11 empty] | N | 0 | 0
57 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Pre-Enginerred Roof Truss | 1785 | 10% | 1963.5 | FT | 16.57 | 67.53 | 32535.195 | 132595.155 | 84.1 | 165130.35 |  | N | 0 | 165130.35
[16 empty] | 0 | 0
|  |  | Wood And Plastics Sub Total | [6 empty] | 82266.8953 | 262492.7789 |  |  | 344759.6742 |  | 0 | 0
[16 empty] | 0 | 0
|  | DIVISION 07- | THERMAL AND MOISTURE PROTECTION | [12 empty] | 0 | 0
|  |  | NEW CONSTRUCTION | [12 empty] | 0 | 0
|  |  | FLOOR SHEATHING | [12 empty] | 0 | 0
58 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | 3/4" T & G Subfloor Sheathing | 5729.86 | 10% | 6302.846 | SF | 1.22 | 1.67 | 7689.4721 | 10525.7528 | 2.89 | 18215.2249 |  | N | 0 | 18215.2249
|  |  | FLOOR INSULATION | [11 empty] | N | 0 | 0
59 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | R-20 Floor Insulation | 5729.86 | 10% | 6302.846 | SF | 1.3 | 1.91 | 8193.6998 | 12038.4359 | 3.21 | 20232.1357 |  | N | 0 | 20232.1357
|  |  | ROOF SHEATHING | [11 empty] | N | 0 | 0
60 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | 3/4" Plywood Roof Sheathing | 3569 | 10% | 3925.9 | SF | 1.16 | 1.53 | 4554.044 | 6006.627 | 2.69 | 10560.671 |  | N | 0 | 10560.671
|  |  | ROOF INSULATION | [11 empty] | N | 0 | 0
61 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | R-49 Batt Insulation | 3569 | 10% | 3925.9 | SF | 1.35 | 2.16 | 5299.965 | 8479.944 | 3.51 | 13779.909 |  | N | 0 | 13779.909
[16 empty] | 0 | 0
|  |  | Thermal And Moisture Protection Sub Total | [6 empty] | 25737.1809 | 37050.7597 |  |  | 62787.9406 |  | 0 | 0
[16 empty] | 0 | 0
|  | DIVISION 08- | OPENINGS | [12 empty] | 0 | 0
|  |  | ALTERATION | [12 empty] | 0 | 0
|  |  | DOOR | [12 empty] | 0 | 0
62 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | 3'-0"x7'-0" Wooden Door | 11 | 0% | 11 | EA | 309.91 | 1681.23 | 3409.01 | 18493.53 | 1991.14 | 21902.54 |  | A | 21902.54 | 0
|  |  | NEW CONSTRUCTION | [11 empty] | A | 0 | 0
|  |  | DOOR | [11 empty] | A | 0 | 0
63 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | 3'-0"X7'-0" Wooden Door | 29 | 0% | 29 | EA | 309.91 | 1681.23 | 8987.39 | 48755.67 | 1991.14 | 57743.06 |  | A | 57743.06 | 0
64 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | 4'-0"X7'-0" Wooden Door | 2 | 0% | 2 | EA | 411.52 | 2394.58 | 823.04 | 4789.16 | 2806.1 | 5612.2 |  | A | 5612.2 | 0
65 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | 3'-0"X7'-8" Wooden Door | 3 | 0% | 3 | EA | 342.58 | 1804.96 | 1027.74 | 5414.88 | 2147.54 | 6442.62 |  | A | 6442.62 | 0
|  |  | WINDOWS | [11 empty] | A | 0 | 0
66 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | 3'-8" x 6'-2" BLVDH Window | 64 | 0% | 64 | EA | 409.22 | 3198.45 | 26190.08 | 204700.8 | 3607.67 | 230890.88 |  | A | 230890.88 | 0
67 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | 3'-8" x 3'-0" Fixed Casement Window | 6 | 0% | 6 | EA | 295 | 1579.12 | 1770 | 9474.72 | 1874.12 | 11244.72 |  | A | 11244.72 | 0
68 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | 6'-4-1/4" x6'-2" BLVD Window | 6 | 0% | 6 | EA | 714.93 | 6409.88 | 4289.58 | 38459.28 | 7124.81 | 42748.86 |  | A | 42748.86 | 0
[16 empty] | 0 | 0
[16 empty] | 0 | 0
[16 empty] | 0 | 0
|  |  | Openings Sub Total | [6 empty] | 46496.84 | 330088.04 |  |  | 376584.88 |  | 0 | 0
[16 empty] | 0 | 0
|  | DIVISION 09- | FINISHES | [12 empty] | 0 | 0
|  |  | ALTERATION | [12 empty] | 0 | 0
|  |  | WALLS | [12 empty] | 0 | 0
69 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Intrior Wall 2x6 Wooden Stud @16" O.C (LF=26.27, EA=20, SF=236.43) | 177.32 | 10% | 195.052 | FT | 3.32 | 6.73 | 647.5726 | 1312.7 | 10.05 | 1960.2726 |  | A | 1960.2726 | 0
70 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | (3)2X6 Wooden Top And Bottom Plate | 78.81 | 10% | 86.691 | FT | 3.32 | 6.73 | 287.8141 | 583.4304 | 10.05 | 871.2446 |  | A | 871.2446 | 0
71 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | R-20 Batt Insulation | 236.46 | 10% | 260.106 | SF | 1.3 | 1.91 | 338.1378 | 496.8025 | 3.21 | 834.9403 |  | A | 834.9403 | 0
72 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | 5/8" Gypsum Board | 472.86 | 10% | 520.146 | SF | 0.74 | 0.95 | 384.908 | 494.1387 | 1.69 | 879.0467 |  | A | 879.0467 | 0
73 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Furring Wall 2x4 Wooden Stud @16" O.C (LF=50, EA=38, SF=450) | 337.5 | 10% | 371.25 | FT | 2.9 | 5.84 | 1076.625 | 2168.1 | 8.74 | 3244.725 |  | A | 3244.725 | 0
74 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | 2X4 Wooden Top And Bottom Plate | 150 | 10% | 165 | FT | 2.9 | 5.84 | 478.5 | 963.6 | 8.74 | 1442.1 |  | A | 1442.1 | 0
75 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | R-20 Batt Insulation | 450 | 10% | 495 | SF | 1.3 | 1.91 | 643.5 | 945.45 | 3.21 | 1588.95 |  | A | 1588.95 | 0
76 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | 5/8" Gypsum Board | 450 | 10% | 495 | SF | 0.74 | 0.95 | 366.3 | 470.25 | 1.69 | 836.55 |  | A | 836.55 | 0
77 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Intrior Wall 2x4 Wooden Stud @16" O.C (LF=190.36, EA=144, SF=1713.24) | 1284.93 | 10% | 1413.423 | FT | 2.9 | 5.84 | 4098.9267 | 8254.3903 | 8.74 | 12353.317 |  | A | 12353.317 | 0
78 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | 2X4 Wooden Top And Bottom Plate | 571.08 | 10% | 628.188 | FT | 2.9 | 5.84 | 1821.7452 | 3668.6179 | 8.74 | 5490.3631 |  | A | 5490.3631 | 0
79 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | R-20 Batt Insulation | 1713.24 | 10% | 1884.564 | SF | 1.3 | 1.91 | 2449.9332 | 3599.5172 | 3.21 | 6049.4504 |  | A | 6049.4504 | 0
80 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | 5/8" Gypsum Board | 3426.68 | 10% | 3769.348 | SF | 0.74 | 0.95 | 2789.3175 | 3580.8806 | 1.69 | 6370.1981 |  | A | 6370.1981 | 0
|  |  | WALL FINISH | [11 empty] | A | 0 | 0
81 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Wall Paint As Detals Were Not Given | 3469.58 | 10% | 3816.538 | SF | 0.68 | 0.81 | 2595.2458 | 3091.3958 | 1.49 | 5686.6416 |  | A | 5686.6416 | 0
82 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Cermaic Tile | 880 | 10% | 968 | SF | 2 | 5.97 | 1936 | 5778.96 | 7.97 | 7714.96 |  | A | 7714.96 | 0
|  |  | WALL BASE | [11 empty] | A | 0 | 0
83 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | 4" Rubber Wall Cove Base | 576 | 10% | 633.6 | FT | 1.25 | 1.85 | 792 | 1172.16 | 3.1 | 1964.16 |  | A | 1964.16 | 0
|  |  | DOOR PAINT | [11 empty] | A | 0 | 0
84 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Door Paint As Details Were Not Given | 462 | 10% | 508.2 | SF | 0.71 | 0.87 | 360.822 | 442.134 | 1.58 | 802.956 |  | A | 802.956 | 0
|  |  | FLOORING | [11 empty] | A | 0 | 0
85 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | LVT:Luxury Vinyl Tile | 2190.87 | 10% | 2409.957 | SF | 1.79 | 3.86 | 4313.823 | 9302.434 | 5.65 | 13616.257 |  | A | 13616.257 | 0
86 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Porcelain Tile | 195.73 | 10% | 215.303 | SF | 2.24 | 6.42 | 482.2787 | 1382.2453 | 8.66 | 1864.524 |  | A | 1864.524 | 0
|  |  | CEILING | [11 empty] | A | 0 | 0
87 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | 5/8" Gypsum Board | 2344.86 | 10% | 2579.346 | SF | 1.57 | 2.67 | 4049.5732 | 6886.8538 | 4.24 | 10936.427 |  | A | 10936.427 | 0
|  |  | CEILING PAINT | [11 empty] | A | 0 | 0
88 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Ceiling Paint | 2344.86 | 10% | 2579.346 | SF | 0.73 | 0.81 | 1882.9226 | 2089.2703 | 1.54 | 3972.1928 |  | A | 3972.1928 | 0
|  |  | NEW CONSTRUCTION | [12 empty] | 0 | 0
|  |  | WALLS | [12 empty] | 0 | 0
89 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Intrior Wall 2x6 Wooden Stud @16" O.C (LF=111.32', EA=84, SF=1001.88) | 751.41 | 10% | 826.551 | FT | 3.32 | 6.73 | 2744.1493 | 5562.6882 | 10.05 | 8306.8376 |  | N | 0 | 8306.8376
90 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | 2X6 Wooden Top And Bottom Plate | 333.96 | 10% | 367.356 | FT | 3.32 | 6.73 | 1219.6219 | 2472.3059 | 10.05 | 3691.9278 |  | N | 0 | 3691.9278
91 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | R-20 Batt Insulation | 1001.88 | 10% | 1102.068 | SF | 1.3 | 1.91 | 1432.6884 | 2104.9499 | 3.21 | 3537.6383 |  | N | 0 | 3537.6383
92 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | 5/8" Gypsum Board | 2003.76 | 10% | 2204.136 | SF | 0.74 | 0.95 | 1631.0606 | 2093.9292 | 1.69 | 3724.9898 |  | N | 0 | 3724.9898
93 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Exterior Wall 2x6 Wooden Stud @16" O.C (LF=563.36', EA=424, SF=5070.24) | 3802.68 | 10% | 4182.948 | FT | 3.32 | 6.73 | 13887.3874 | 28151.24 | 10.05 | 42038.6274 |  | N | 0 | 42038.6274
94 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | 2X6 Wooden Top And Bottom Plate | 1690.08 | 10% | 1859.088 | FT | 3.32 | 6.73 | 6172.1722 | 12511.6622 | 10.05 | 18683.8344 |  | N | 0 | 18683.8344
95 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | R-20 Batt Insulation | 5070.24 | 10% | 5577.264 | SF | 1.3 | 1.91 | 7250.4432 | 10652.5742 | 3.21 | 17903.0174 |  | N | 0 | 17903.0174
96 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | 5/8" Gypsum Board | 5070.24 | 10% | 5577.264 | SF | 0.74 | 0.95 | 4127.1754 | 5298.4008 | 1.69 | 9425.5762 |  | N | 0 | 9425.5762
97 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Cement Board Or 7/16" O.S.B Sheathing | 5070.24 | 10% | 5577.264 | SF | 1.1 | 1.52 | 6134.9904 | 8477.4413 | 2.62 | 14612.4317 |  | N | 0 | 14612.4317
98 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Furring Wall 2x4 Wooden Stud @16" O.C (LF=120.4, EA=92, SF=1083.6) | 812.7 | 10% | 893.97 | FT | 2.9 | 5.84 | 2592.513 | 5220.7848 | 8.74 | 7813.2978 |  | N | 0 | 7813.2978
99 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | 2X4 Wooden Top And Bottom Plate | 361.2 | 10% | 397.32 | FT | 2.9 | 5.84 | 1152.228 | 2320.3488 | 8.74 | 3472.5768 |  | N | 0 | 3472.5768
100 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | R-20 Batt Insulation | 1083.6 | 10% | 1191.96 | SF | 1.3 | 1.91 | 1549.548 | 2276.6436 | 3.21 | 3826.1916 |  | N | 0 | 3826.1916
101 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | 5/8" Gypsum Board | 1083.6 | 10% | 1191.96 | SF | 0.74 | 0.95 | 882.0504 | 1132.362 | 1.69 | 2014.4124 |  | N | 0 | 2014.4124
102 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Intrior Wall 2x4 Wooden Stud @16" O.C (LF=590.1, EA=444, SF=5310.9) | 3983.17 | 10% | 4381.487 | FT | 2.9 | 5.84 | 12706.3123 | 25587.8841 | 8.74 | 38294.1964 |  | N | 0 | 38294.1964
103 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | 2X4 Wooden Top And Bottom Plate | 1770.3 | 10% | 1947.33 | FT | 2.9 | 5.84 | 5647.257 | 11372.4072 | 8.74 | 17019.6642 |  | N | 0 | 17019.6642
104 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | R-20 Batt Insulation | 5310.9 | 10% | 5841.99 | SF | 1.3 | 1.91 | 7594.587 | 11158.2009 | 3.21 | 18752.7879 |  | N | 0 | 18752.7879
105 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | 5/8" Gypsum Board | 10621.8 | 10% | 11683.98 | SF | 0.74 | 0.95 | 8646.1452 | 11099.781 | 1.69 | 19745.9262 |  | N | 0 | 19745.9262
106 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Parapet Wall 2x6 Wooden Stud @16" O.C (LF=41.02, EA=32, SF=164.08) | 123.06 | 10% | 135.366 | FT | 3.32 | 6.73 | 449.4151 | 911.0132 | 10.05 | 1360.4283 |  | N | 0 | 1360.4283
107 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | 2x6 Wooden Top And Bottom Plate | 123.06 | 10% | 135.366 | FT | 3.32 | 6.73 | 449.4151 | 911.0132 | 10.05 | 1360.4283 |  | N | 0 | 1360.4283
108 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Cement Board Or 7/16" O.S.B Sheathing | 328.16 | 10% | 360.976 | SF | 1.1 | 1.52 | 397.0736 | 548.6835 | 2.62 | 945.7571 |  | N | 0 | 945.7571
|  |  | WALL FINISH | [11 empty] | N | 0 | 0
109 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Wall Paint As Detals Were Not Given | 16882.4 | 10% | 18570.64 | SF | 0.68 | 0.81 | 12628.0352 | 15042.2184 | 1.49 | 27670.2536 |  | N | 0 | 27670.2536
110 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Cermaic Tile | 1897 | 10% | 2086.7 | SF | 2 | 5.97 | 4173.4 | 12457.599 | 7.97 | 16630.999 |  | N | 0 | 16630.999
|  |  | WALL BASE | [11 empty] | N | 0 | 0
111 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | 4" Rubber Wall Cove Base | 1562 | 10% | 1718.2 | FT | 1.25 | 1.85 | 2147.75 | 3178.67 | 3.1 | 5326.42 |  | N | 0 | 5326.42
|  |  | FLOORING | [11 empty] | N | 0 | 0
112 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | LVT:Luxury Vinyl Tile | 5700.38 | 10% | 6270.418 | SF | 1.79 | 3.86 | 11224.0482 | 24203.8135 | 5.65 | 35427.8617 |  | N | 0 | 35427.8617
113 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Porcelain Tile | 549.39 | 10% | 604.329 | SF | 2.24 | 6.42 | 1353.697 | 3879.7922 | 8.66 | 5233.4891 |  | N | 0 | 5233.4891
114 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Hard Wood Flooring | 601.62 | 10% | 661.782 | SF | 2.3 | 14.73 | 1522.0986 | 9748.0489 | 17.03 | 11270.1475 |  | N | 0 | 11270.1475
|  |  | CEILING | [11 empty] | N | 0 | 0
115 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | 5/8" Gypsum Board | 8542 | 10% | 9396.2 | SF | 1.57 | 2.67 | 14752.034 | 25087.854 | 4.24 | 39839.888 |  | N | 0 | 39839.888
|  |  | DOOR PAINT | [11 empty] | N | 0 | 0
116 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Door Paint As Details Were Not Given | 1469 | 10% | 1615.9 | SF | 0.71 | 0.87 | 1147.289 | 1405.833 | 1.58 | 2553.122 |  | N | 0 | 2553.122
|  |  | CEILING PAINT | [11 empty] | N | 0 | 0
117 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Ceiling Paint As Details Were Not Given | 8542 | 10% | 9396.2 | SF | 0.73 | 0.81 | 6859.226 | 7610.922 | 1.54 | 14470.148 |  | N | 0 | 14470.148
|  |  | ROOF FINISHES | [11 empty] | N | 0 | 0
118 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Asphalt Shingles Underlayment | 3026.76 | 10% | 3329.436 | SF | 1.76 | 3.25 | 5859.8074 | 10820.667 | 5.01 | 16680.4744 |  | N | 0 | 16680.4744
119 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | TPO Roofing Underlayment | 542.98 | 10% | 597.278 | SF | 1.88 | 4.5 | 1122.8826 | 2687.751 | 6.38 | 3810.6336 |  | N | 0 | 3810.6336
|  |  | FASCIA BOARD | [11 empty] | N | 0 | 0
120 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Aluminum Fascia Board | 237.77 | 10% | 261.547 | FT | 1.8 | 4.77 | 470.7846 | 1247.5792 | 6.57 | 1718.3638 |  | N | 0 | 1718.3638
|  |  | GUTTER | [11 empty] | N | 0 | 0
121 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Gutter | 237.77 | 10% | 261.547 | FT | 5.75 | 15.79 | 1503.8953 | 4129.8271 | 21.54 | 5633.7224 |  | N | 0 | 5633.7224
|  |  | DOWNSPOUT | [11 empty] | N | 0 | 0
122 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Downspout (H=34') | 5 | 0% | 5 | EA | 140 | 351.63 | 700 | 1758.15 | 491.63 | 2458.15 |  | N | 0 | 2458.15
|  |  | SCUPPER | [11 empty] | N | 0 | 0
123 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Scupper | 5 | 0% | 5 | EA | 51.49 | 158.76 | 257.45 | 793.8 | 210.25 | 1051.25 |  | N | 0 | 1051.25
|  |  | EXTERIOR FINISHES | [11 empty] | N | 0 | 0
124 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | 6" James Hardie Lap Siding | 1943.94 | 10% | 2138.334 | SF | 2.78 | 4.91 | 5944.5685 | 10499.2199 | 7.69 | 16443.7885 |  | N | 0 | 16443.7885
125 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | New James Hardie Staggered Edge Shingles Siding | 1448.58 | 10% | 1593.438 | SF | 2.83 | 5.1 | 4509.4295 | 8126.5338 | 7.93 | 12635.9633 |  | N | 0 | 12635.9633
126 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | New James Hardie Board And Battensiding Select Cedarmill | 660.1 | 10% | 726.11 | SF | 2.97 | 5.68 | 2156.5467 | 4124.3048 | 8.65 | 6280.8515 |  | N | 0 | 6280.8515
127 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | 5/4 x2 Mom Casing Head At Head | 247.92 | 10% | 272.712 | FT | 3.46 | 8.74 | 943.5835 | 2383.5029 | 12.2 | 3327.0864 |  | N | 0 | 3327.0864
128 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | 1/2" Black Powder Coated Bar Steel Window Grate | 114.9 | 10% | 126.39 | FT | 5.75 | 11.26 | 726.7425 | 1423.1514 | 17.01 | 2149.8939 |  | N | 0 | 2149.8939
129 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Custom Metal Vented Wall Screen With Insect Mesh | 33.95 | 10% | 37.345 | SF | 3.34 | 4.67 | 124.7323 | 174.4012 | 8.01 | 299.1335 |  | N | 0 | 299.1335
[16 empty] | 0 | 0
|  |  | Finishes Sub Total | [6 empty] | 198590.18 | 357331.284 |  |  | 555921.4641 |  | 0 | 0
[16 empty] | 0 | 0
|  | DIVISION 10- | SPECIALITIES | [12 empty] | 0 | 0
|  |  | ALTERATION | [12 empty] | 0 | 0
130 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Lockers | 13.62 | 10% | 14.982 | FT | 220 | 1257.46 | 3296.04 | 18839.2657 | 1477.46 | 22135.3057 |  | A | 22135.3057 | 0
131 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | 42" Grab Bar | 2 | 0% | 2 | EA | 28.16 | 74.52 | 56.32 | 149.04 | 102.68 | 205.36 |  | A | 205.36 | 0
132 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | 36" Grab Bar | 2 | 0% | 2 | EA | 21.87 | 62.8 | 43.74 | 125.6 | 84.67 | 169.34 |  | A | 169.34 | 0
133 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Trash Receptacle | 2 | 0% | 2 | EA | 13.68 | 35.21 | 27.36 | 70.42 | 48.89 | 97.78 |  | A | 97.78 | 0
134 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Soap Dispenser | 5 | 0% | 5 | EA | 12.23 | 31.09 | 61.15 | 155.45 | 43.32 | 216.6 |  | A | 216.6 | 0
135 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Rob Hook | 2 | 0% | 2 | EA | 11.75 | 21.73 | 23.5 | 43.46 | 33.48 | 66.96 |  | A | 66.96 | 0
136 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Tissue\Towel Dispenser | 2 | 0% | 2 | EA | 26.59 | 76.28 | 53.18 | 152.56 | 102.87 | 205.74 |  | A | 205.74 | 0
137 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Cart | 2 | 0% | 2 | EA | 180 | 522.89 | 360 | 1045.78 | 702.89 | 1405.78 |  | A | 1405.78 | 0
|  |  | NEW CONSTRUCTION | [12 empty] | 0 | 0
138 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Egress Well | 59.18 | 10% | 65.098 | FT | 418.43 | 2257.41 | 27238.9561 | 146952.8762 | 2675.84 | 174191.8323 |  | N | 0 | 174191.8323
139 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | New 3- Stops 30"x30"x36" Dumbwaiter Power Lift 300W/300 Pound Capacity | 1 | 0% | 1 | EA | 2691.84 | 9674.53 | 2691.84 | 9674.53 | 12366.37 | 12366.37 |  | N | 0 | 12366.37
140 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Lockers | 71.78 | 10% | 78.958 | FT | 220 | 1257.46 | 17370.76 | 99286.5267 | 1477.46 | 116657.2867 |  | N | 0 | 116657.2867
141 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | 42" Grab Bar | 8 | 0% | 8 | EA | 28.16 | 74.52 | 225.28 | 596.16 | 102.68 | 821.44 |  | N | 0 | 821.44
142 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | 36" Grab Bar | 8 | 0% | 8 | EA | 21.87 | 62.8 | 174.96 | 502.4 | 84.67 | 677.36 |  | N | 0 | 677.36
143 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Trash Receptacle | 8 | 0% | 8 | EA | 13.68 | 35.21 | 109.44 | 281.68 | 48.89 | 391.12 |  | N | 0 | 391.12
144 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Soap Dispenser | 24 | 0% | 24 | EA | 12.23 | 31.09 | 293.52 | 746.16 | 43.32 | 1039.68 |  | N | 0 | 1039.68
145 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Rob Hook | 8 | 0% | 8 | EA | 11.75 | 21.73 | 94 | 173.84 | 33.48 | 267.84 |  | N | 0 | 267.84
146 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Tissue\Towel Dispenser | 12 | 0% | 12 | EA | 26.59 | 76.28 | 319.08 | 915.36 | 102.87 | 1234.44 |  | N | 0 | 1234.44
147 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | New School Sign | 1 | 0% | 1 | EA | 145 | 309.42 | 145 | 309.42 | 454.42 | 454.42 |  | N | 0 | 454.42
148 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | 42" X80" Tall Cupola With Bell ($2500) | 1 | 0% | 1 | EA | 550 | 2500 | 550 | 2500 | 3050 | 3050 |  | N | 0 | 3050
[16 empty] | 0 | 0
|  |  | Specialities Sub Total | [6 empty] | 53134.1261 | 282520.5286 |  |  | 335654.6547 |  | 0 | 0
[16 empty] | 0 | 0
|  | DIVISION 11- | MISC-Equipment | [12 empty] | 0 | 0
[16 empty] | 0 | 0
|  |  | Porta Potty | 1 | [7 empty] | 4750 | 4750 |  | B | 1425 | 3325 | Both: 0.3 to alterations, 0.7 to new construction
|  |  | Security Fence during Construction | 1 | [7 empty] | 5758 | 5758 |  | B | 1727.4 | 4030.6
|  |  | Finish Punch Out | 1 | [7 empty] | 5559.21 | 5559.21 |  | B | 1667.763 | 3891.447
|  |  | Machine Rentals | 1 | [7 empty] | 14800 | 14800 |  | B | 4440 | 10360
[16 empty] | 0 | 0
[16 empty] | 0 | 0
[16 empty] | 0 | 0
[14 empty] | 30867.21 |  | 0 | 0
[16 empty] | 0 | 0
|  | DIVISION 12- | FURNISHINGS | [12 empty] | 0 | 0
|  |  | ALTERATION | [12 empty] | 0 | 0
|  |  | COUNTERTOP | [12 empty] | 0 | 0
149 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | 3/4" Quartz Countertop | 31.95 | 10% | 35.145 | SF | 17.58 | 74.29 | 617.8491 | 2610.9221 | 91.87 | 3228.7712 |  | A | 3228.7712 | 0
|  |  | BACKSPLASH | [11 empty] | A | 0 | 0
150 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | 4" High Backsplash | 15.88 | 10% | 17.468 | FT | 7.21 | 23.67 | 125.9443 | 413.4676 | 30.88 | 539.4118 |  | A | 539.4118 | 0
|  |  | NEW CONSTRUCTION | [11 empty] | A | 0 | 0
|  |  | COUNTERTOP | [11 empty] | A | 0 | 0
151 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | 3/4" Quartz Countertop | 81.39 | 10% | 89.529 | SF | 17.58 | 74.29 | 1573.9198 | 6651.1094 | 91.87 | 8225.0292 |  | A | 8225.0292 | 0
|  |  | BACKSPLASH | [11 empty] | A | 0 | 0
152 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | 4" High Backsplash | 39.89 | 10% | 43.879 | FT | 7.21 | 23.67 | 316.3676 | 1038.6159 | 30.88 | 1354.9835 |  | A | 1354.9835 | 0
[16 empty] | 0 | 0
|  |  | Furnishings Sub Total | [6 empty] | 2634.0808 | 10714.1149 |  |  | 13348.1957 |  | 0 | 0
[16 empty] | 0 | 0
|  | DIVISION 22- | PLUMBING | [12 empty] | 0 | 0
|  |  | ALTERATION | [12 empty] | 0 | 0
|  |  | FIXTURES | [12 empty] | 0 | 0
153 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | New Sump Pump | 1 | 0% | 1 | EA | 220 | 2647.15 | 220 | 2647.15 | 2867.15 | 2867.15 |  | A | 2867.15 | 0
154 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Prep Sink | 1 | 0% | 1 | EA | 171.52 | 684.73 | 171.52 | 684.73 | 856.25 | 856.25 |  | A | 856.25 | 0
155 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Hand Wash | 1 | 0% | 1 | EA | 146.27 | 521.8 | 146.27 | 521.8 | 668.07 | 668.07 |  | A | 668.07 | 0
156 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | 3- Compartment Sink | 1 | 0% | 1 | EA | 183.75 | 729.36 | 183.75 | 729.36 | 913.11 | 913.11 |  | A | 913.11 | 0
157 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Mop Sink | 1 | 0% | 1 | EA | 141.79 | 483.27 | 141.79 | 483.27 | 625.06 | 625.06 |  | A | 625.06 | 0
158 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Lavatory | 5 | 0% | 5 | EA | 151.08 | 547.62 | 755.4 | 2738.1 | 698.7 | 3493.5 |  | A | 3493.5 | 0
159 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Sink | 7 | 0% | 7 | EA | 157.25 | 578.94 | 1100.75 | 4052.58 | 736.19 | 5153.33 |  | A | 5153.33 | 0
160 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | WC:Water Closet | 2 | 0% | 2 | EA | 181.07 | 667.19 | 362.14 | 1334.38 | 848.26 | 1696.52 |  | A | 1696.52 | 0
|  |  | PIPE | [11 empty] | A | 0 | 0
161 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | 6" Perforated Drainage Pipe | 88.46 | 10% | 97.306 | FT | 5.71 | 13.62 | 555.6173 | 1325.3077 | 19.33 | 1880.925 |  | A | 1880.925 | 0
162 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Allownces For Plumbing Work Pipes, Insulation And Hangers | 1 | 0% | 1 | LS | 1750 | 3000 | 1750 | 3000 | 4750 | 4750 |  | A | 4750 | 0
|  |  | NEW CONSTRUCTION | [12 empty] | 0 | 0
|  |  | SUMP PUMP | [12 empty] | 0 | 0
163 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | New Sump Pump (Optional) | 1 | 0% | 1 | EA | 220 | 2647.15 | 220 | 2647.15 | 2867.15 | 2867.15 |  | N | 0 | 2867.15
|  |  | DRAINAGE PIPE | [11 empty] | N | 0 | 0
164 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | 6" Perforated Drainage Pipe (Optional) | 188.08 | 10% | 206.888 | FT | 5.71 | 13.62 | 1181.3305 | 2817.8146 | 19.33 | 3999.145 |  | N | 0 | 3999.145
|  |  | FIXTURES | [11 empty] | N | 0 | 0
165 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Lavatory | 11 | 0% | 11 | EA | 151.08 | 547.62 | 1661.88 | 6023.82 | 698.7 | 7685.7 |  | N | 0 | 7685.7
166 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | WC:Water Closet | 12 | 0% | 12 | EA | 181.07 | 667.19 | 2172.84 | 8006.28 | 848.26 | 10179.12 |  | N | 0 | 10179.12
167 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Sink | 15 | 0% | 15 | EA | 157.25 | 578.94 | 2358.75 | 8684.1 | 736.19 | 11042.85 |  | N | 0 | 11042.85
168 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Water Heater | 1 | 0% | 1 | EA | 380 | 3267.46 | 380 | 3267.46 | 3647.46 | 3647.46 |  | N | 0 | 3647.46
169 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Over Roof Drain | 2 | 0% | 2 | EA | 56.38 | 148.14 | 112.76 | 296.28 | 204.52 | 409.04 |  | N | 0 | 409.04
170 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Allownces For Plumbing Work Pipes, Insulation And Hangers | 1 | 0% | 1 | LS | 300 | 6500 | 300 | 6500 | 6800 | 6800 |  | N | 0 | 6800
[16 empty] | 0 | 0
[16 empty] | 0 | 0
|  |  | Plumbing Sub Total | [6 empty] | 13774.7977 | 55759.5823 |  |  | 69534.38 |  | 0 | 0
[16 empty] | 0 | 0
|  | DIVISION 23- | MECHANICAL | [12 empty] | 0 | 0
|  |  | ALTERATION | [12 empty] | 0 | 0
171 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Allownces For Mechanical Work Ducts, Insulation And Hangers | 1 | 0% | 1 | LS | 6000 | 14500 | 6000 | 14500 | 20500 | 20500 |  | A | 20500 | 0
|  |  | NEW CONSTRUCTION | [12 empty] | 0 | 0
|  |  | FIXTURE | [12 empty] | 0 | 0
172 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Horizonatl Mounted Mechaical Unit Hung From Ceiling To serve The Basement | 1 | 0% | 1 | EA | 180 | 791.48 | 180 | 791.48 | 971.48 | 971.48 |  | N | 0 | 971.48
173 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | AHU:Air Handling Unit | 4 | 0% | 4 | EA | 234.16 | 2657.43 | 936.64 | 10629.72 | 2891.59 | 11566.36 |  | N | 0 | 11566.36
174 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Allownces For Mechanical Work Ducts, Insulation And Hangers | 1 | 0% | 1 | LS | 4000 | 7500 | 4000 | 7500 | 11500 | 11500 |  | N | 0 | 11500
[16 empty] | 0 | 0
|  |  | Mechanical Sub Total | [6 empty] | 11116.64 | 33421.2 |  |  | 44537.84 |  | 0 | 0
[16 empty] | 0 | 0
|  | DIVISION 26- | ELECTRICAL | [12 empty] | 0 | 0
|  |  | ALTERATION | [12 empty] | 0 | 0
175 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Allownces For Electrical Work Lighting, Power Fixtures, Conduits, Wiring, Panel And Breaker | 1 | 0% | 1 | LS | 5500 | 12500 | 5500 | 12500 | 18000 | 18000 |  | A | 18000 | 0
|  |  | NEW CONSTRUCTION | [12 empty] | 0 | 0
176 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Allownces For Electrical Work Lighting, Power Fixtures, Conduits, Wiring, Panel And Breaker | 1 | 0% | 1 | LS | 8500 | 19700 | 8500 | 19700 | 28200 | 28200 |  | N | 0 | 28200
[16 empty] | 0 | 0
|  |  | Electrical Sub Total | [6 empty] | 14000 | 32200 |  |  | 46200 |  | 0 | 0
[16 empty] | 0 | 0
|  | DIVISION 31- | EARTHWORK | [12 empty] | 0 | 0
|  |  | NEW CONSTRUCTION | [12 empty] | 0 | 0
177 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Exacavtion For Foundation | 32.71 | 10% | 35.981 | CY | 56.23 | 0 | 2023.2116 | 0 | 56.23 | 2023.2116 |  | N | 0 | 2023.2116
178 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | Backfill For Foundation | 6.74 | 10% | 7.414 | CY | 49.71 | 0 | 368.5499 | 0 | 49.71 | 368.5499 |  | N | 0 | 368.5499
[16 empty] | 0 | 0
|  |  | Earthwork Sub Total | [6 empty] | 2391.7616 | 0 |  |  | 2391.7616 |  | 0 | 0
[16 empty] | 0 | 0
|  | DIVISION 32- | EXTERIOR IMPROVEMENTS | [12 empty] | 0 | 0
|  |  | FENCE | [12 empty] | 0 | 0
179 | A-0.41 - A-1.21 | A-0.41 - A-1.21 | 6' High Chainlink Fence | 241.11 | 10% | 265.221 | FT | 16.28 | 48.76 | 4317.7979 | 12932.176 | 65.04 | 17249.9738 |  | N | 0 | 17249.9738
[16 empty] | 0 | 0
|  |  | Exterior Improvements Sub Total | [6 empty] | 4317.7979 | 12932.176 |  |  | 17249.9738 |  | 0 | 0
[16 empty] | 0 | 0
[16 empty] | 0 | 0
TOTAL | [9 empty] | 608384.4642 | 1535533.1024 |  |  | 2174784.7767 |  | 0 | 0
OVERHEAD & PROFIT | [5 empty] | 25% | [7 empty] | 543696.1942 | B | 163108.8582 | 380587.3359 | Both: 0.3 to alterations, 0.7 to new construction
INSURANCE | [13 empty] | 0 |  | 0 | 0
CONTINGENCY | [5 empty] | 10% | [7 empty] | 217478.4777 | B | 65243.5433 | 152234.9344
TOTAL BASE BID | [13 empty] | 2935959.4485
[16 empty] | Total Alterations | Total New Construction
[16 empty] | 914235.1913 | 2021724.2571
2935959.4485